## Sheet1
Turbine | Model | Feeder | Capacity [kW] | Rotor Diameter [m] | Hub Height [m] | Latitude | Longitude | Elevation [ft] | Weibull a | Weibull k | Average Site Air Density [kg/m^3] | Primary Neighbor | Secondary Neighbor
T01 | ST-2.55MW | 6D | 2550 | 122 | 85 | 42.83 | -96.8871 | 1345 | 9.42 | 2.46 | 1.162 | T02 | T05